CITY OF TWO RIVERS CITY COUNCIL

PUBLIC UTILITIES COMMITTEE
Tuesday, March 7, 2017
6:00 P.M.

City Hall, 3rd Floor, Committee Room
MINUTES
Call to Order

Roll Call Committee members present: James Taddy, Darla LeClair, Jack Powalisz 

Staff Present: James Mc Donald (City Engineer/ Public Works Director), Scott Ahl (Civil Engineer II), Ross Blaha (Water Utility Supt)
Review and Approval of Minutes – Motion by Jack Powalisz, seconded by Darla LeClair, to approve minutes as presented.  Motion carried upon unanimous voice vote.
Public Input
Discussion, status update and action regarding Ordinance and Policy Changes regarding Private Lateral requirements and Special Financing 
Lincoln Avenue – a property owner requested longer time to pay assessments; staff informed him to make written request


Other issues – requests from vacant parcels to have sewer and water
Consideration and Action regarding “Principal Forgiven” Resolution, relative to Private Lateral replacement
A Motion was made by Jack Powalisz, seconded by Darla LeClair, to recommend to City Council to approve Resolution for Authorizing Execution of the Department of Natural Resources Principal Forgiven Financial Assistance Agreement. Motion carried upon unanimous voice vote.
Water Utility:   Updates from Director
Ross Blaha is requesting approval/permission to install new type of water filter membranes.  New ones would have 5-year performance warranty; would save staff call-ins and increase performance due to high fiber breakage in existing filters. It was noted Wisconsin DNR has more strict requirements for acceptance of new processes than other states.
Water Dept. will be coordinating with contractor due to water shut offs which will need to be scheduled during construction
Electric / Telecommunications Utilities:  Updates from Director
Waste Water Utility:  Updates from Superintendent and Facilities Plan Status / Issues
Draft Town and Country Report Summary Presentation and Discussion
Staff gave a summary of a draft report from Town and Country engineers regarding potential work at the Wastewater Treatment Plant.  Potential projects include improvements to the headworks $2.8 million, grit removal $1.4 million, and other issues - aeration basin work, digestor work, lift stations ≈ $12.4 million total
Plan on submitting report to DNR Financing for headworks improvement, grit removal, which is expected to include partial principal forgiveness.
Staff indicated private service replacements (on other improvement projects) were not budgeted (due to developments since budget time); funds from current operating budget will likely need to be used for associated project costs.  Actual amount will depend on how many residents utilize city financing for private service
Storm Water Utility:  Updates and Action
EPA Grant – Constructed Wetland at Beach
Staff and consultant continues to work with DNR on permitting issues regarding Constructed Wetland at Neshotah Beach

Storm Water Outlet Issues with WDNR

Projects Updates
Other
Other Utilities:  Updates and Action
Landfill – Lincoln Avenue contractor will haul some excess fill on top for DNR required regrading the top of the landfill (to reduce ponding from settling).  Also, DNR noted test results from well testing indicate ground water contaminants are moving towards Klein well.  DNR requesting additional monitoring via a new monitoring well which will have to be monitored for an extended time; staff is looking at option to extend and connect Klein and Kusch to city water
Solid Waste / Recycling

Work in ROW Permit Issues
Various Project Updates:
Wilson -  Wilson Sanitary relay will include sanitary lateral replacement and private lead water replacement
Pilon – Pilon will also include replacement of sanitary and water services to houses, in addition to street reconstruction.
Lincoln Avenue Utilities
Vets Park Paving (and storm sewer)

Other -  Harbor Park – Public works staff will be working on landscaping and final grading around the building
Private Service lines – staff looking at replacing private service lines at areas where lead service lines have been replaced in road
Set Date, Time and Agenda Items for next Committee Meeting
Next meeting to be held Tuesday, April 4, 2017, at 6:00 pm.
Adjournment

A motion was made by Darla LeClair, seconded by James Taddy, to adjourn at 7:20 pm.  Motion passed upon unanimous voice vote.
Submitted:

_________________

Scott Ahl

