CITY OF TWO RIVERS CITY COUNCIL

PUBLIC UTILITIES COMMITTEE

# Tuesday, May 5, 2017

6:00 P.M.

City Hall, 3rd Floor, Committee Room

MINUTES

Call to Order

Roll Call

Committee members present: John Casavant, Bonnie Shimulunas, Erin Gonnerman

Staff Present: James Mc Donald (City Engineer/ Public Works Director), Scott Ahl (Civil Engineer II), Ross Blaha (Water Utility Supt), Dave Casebeer (WWTP)

Greg Droessler, PE, Town & Country Engineering

Review and Approval of Minutes – Motion by Erin Gonnerman, seconded by John Casavant, to accept and file minutes as presented.  Motion carried upon unanimous voice vote.

Public Input

Waste Water Utility:  Updates from Superintendent and Facilities Plan Status / Issues

Town and Country Facility Plan Summary Presentation, Discussion and Action

-Waste water plant history: 1939 original plant; 1976 major update;

- Plan reviewed structures and equipment; evaluate condition and place priorities on needed equipment replacement; Plan also determine financing and rate structure impacts for the improvements.

-Higher priority items:

- Headworks - $1.8 million - code compliant

- Grit removal - $1.3 million – Excessive grit in existing influent has been noted to plugs tanks, wears on pump and equipment

- Plant SCADA - $0.5 million (exclude lift station) – data control and networking, privides communication to lift stations (existing communication is unreliable via conventional phone lines.

- Belt press/ digestors - $1.0 million – digest remaining nutrients, belt press is 27 years old, new technology may help improve efficiencies

- Digestor membrane - $1.25 million – 10 years old, expect to last 10-15 years; recommend steel cover; better mixing, longer life expectancy.

- Aeration basin - $0.75 million – bottle neck at interconnect between north and south basins; help with efficiencies

Total - $6.6 million – high priority items

Other - $5.8 million – lower priority items

Financing applied for intent to apply submitted October 2016; City qualifies for principal forgiveness, max $700,000/year (based on 30%); Projects separated into different phases for economics.  Phase 1 would include improvements to headworks, grit removal, SCADA – 1st ≈ $3.6 million

Utility Rate Impacts = 4.0% rate increase per year for 9 years

- funds plant work and, also, provides for main replacement and maintenance

- plans for Phase 1 need to be submitted to DNR prior to September 30, 2017, in order to proceed with 2018 construction

- proposal would develop 30% plans for the first 6 high priority items, allow for further refinement of cost estimates; allow for readiness of projects if other funding becomes available

- 30% plans would be completed by July and advance first project to 70% plans prior to September 30th.

-Roofs, doors, tuck pointing have funds listed in report for maintenance of building, with funding via budgets or additional grant/loan applications

Motion was made by Erin Gonnerman, seconded by John Casavant, to recommend to City Council to advance contract with Town & County to develop 30% plans for high priority projects. Motion carried upon unanimous voice vote.

Engineering Addendum Consideration, Discussion and Action

Superintendent updates

Water Utility:   Updates from Director

New style membrane will be here the week of May 15th

Update on PLC upgrade

Getting 2 youth mentorship people for the summer to locate our curb stops into GIS  system

Electric / Telecommunications Utilities:  Updates from Director

Storm Water Utility:  Updates and Action

EPA Grant – Constructed Wetland at Beach – to help treat storm water from outfall at end of 22nd Street; need permits from U.S. Army Corps of Engineers and DNR for work near lake Michigan and threatened plant

Storm Water Outlet Issues with WDNR

Projects Updates

Other

Other Utilities:  Updates and Action

Landfill – abandoned landfill (owned by private party), formerly used for municipal waste, projects include regrading top of landfill for water drainage

Solid Waste / Recycling

Various Project Updates:

Wilson (23rd-24th) – replace sanitary main, sanitary laterals (main to house), lead water services (curb box to house) and installation of storm sewer services

Pilon – replace all utilities, water deficient available fire flows

Lincoln Avenue Utilities

Vets Park Paving (and storm sewer) – project to reroute storm sewer from 19th and School St. to discharge at Vets Park and install conduit for future fiber optics for park operations, security cameras, and lighting; resurfacing a portion of parking lot

Other

Set Date, Time and Agenda Items for next Committee Meeting

Next meeting to be held Tuesday, May 16, 2017, at 4:00 pm for tours of Water and Wastewater plants.  No additional business expected.

Next monthly meeting to be held Tuesday, June 6, 2017, 5:00 pm

Adjournment

A motion was made by Erin Gonnerman, seconded by John Casavant, to adjourn at 7:53 pm.  Motion passed upon unanimous voice vote.

Submitted:

_________________

Scott Ahl