CITY OF TWO RIVERS CITY COUNCIL

PUBLIC UTILITIES COMMITTEE

# Tuesday, May 16, 2017

4:00 P.M.

Conference Room, Water Ultrafiltration Plant, Lake Street

MINUTES

Call to Order

Roll Call

Committee members present: John Casavant, Bonnie Shimulunas, Erin Gonnerman

Staff Present: Ross Blaha (Water Utility Supt), Dave Casebeer (WWTP), Scott Ahl (Civil Engineer II)

Tour Water Ultrafiltration Plant

Blaha provided a tour of the Water Ultrafiltration Plant, and explained the functions, including pumping of water from Lake Michigan, which is run through a series of filters, and ultimately pumped into the distribution system where customers receive the treated water.  He explained some of the major upgrades include replacing the filters with a newer style, which have a warranty and longer life expectancy; and upgrading the SCADA system, which also monitors levels at the water towers, and information at the north side reservoir.

Tour Waste Water Treatment Facility

Casebeer provided a tour of the Waste Water Treatment Facility.  He explained the process, which includes a bar screen to filter larger items, primary clarifiers which allow some solids to settle, aeration basins which provide biological digestion of materials, and final clarifiers which allows final settlement of materials.  It was noted that issues with excessive grit is requiring  frequent cleaning of the clarifiers and digestors.  Casebeer also noted the plant monitors 17 lift stations in the collection system for alarms.

Adjournment

Meeting was adjourned at 6:25p.m.

Submitted:

_________________

Scott Ahl