CITY OF TWO RIVERS CITY COUNCIL

PUBLIC UTILITIES COMMITTEE
Tuesday, June 6, 2017
5:00 P.M.

City Hall, 3rd Floor, Committee Room
MINUTES
Call to Order
Roll Call


Committee members present: John Casavant, Bonnie Shimulunas, Erin Gonnerman 

 Staff Present: James Mc Donald (City Engineer/ Public Works Director), Scott Ahl (Civil Engineer II), Ross Blaha (Water Utility Supt), Dave Casebeer (WWTP)
Review and Approval of Minutes – Motion by Erin Gonnerman, seconded by John Casavant, to accept and file minutes from May 5th and May 16th as presented.  Motion carried upon unanimous voice vote.
Waste Water Utility:  Superintendent Update

- 2.9MGD avg. for May – 2nd month in a row above 85% rated plant flow rate; will impact DNR rating of plant

- Other work at lift stations in next couple months

 - grease has been noted in collection system; staff would like to verify large ‘grease” contributors are properly maintaining grease traps; also, educate residential users

      - plant tour discussion – generally positive feedback; staff is also planning on offering tours to school groups for water and wastewater facilities
Water Utility:   Updates from Director including 
Lead Lateral Policy discussion and action – need to discuss if replacement is to be required where main construction is not taking place; staff noted current DNR program will offer $2,500 max principal forgiveness for lead water service; there is no funding for sanitary laterals; current projects are offering financing similar to the special assessments police over 10 years.
-Staff noted that the bids came in low for the private service lateral replacement.  Consensus to use remaining principal forgiveness for emergency repairs, and offer city financing; also, keep CDBG funding as an option

-Future projects – 27th Street (Forest to Adams) – staff is looking at options to replace water and sanitary services

-New filers have been installed in the water plant.  Staff will monitor effectiveness in relation to warranted reduced maintenance costs, and flow production.
Electric / Telecommunications Utilities:  Updates from Director
Select date and time for Electric Utility Tour – To be determined at the August meeting
Storm Water Utility:  Updates and Action
EPA Grant – Constructed Wetland at Beach – wetlands delineated at Neshotah pond 

Storm Water Outlet Issues with WDNR - asked McMahon to assist with permitting of storm outfalls.  DNR is requesting coordination with cleaning of storm outfalls, which is required to maintain outfalls so storm pipe capacities are not reduced during rain events.
Projects Updates
Other Utilities:  Updates and Action
Landfill – contractor from Lincoln Avenue project is hauling fill from road work to improve drainage, and reduce infiltration, at the top of the landfill, as required by DNR. 
Solid Waste / Recycling
Set Date, Time and Agenda Items for next Committee Meeting


No July meeting unless needed. Next meeting to be held Tuesday, August 1, 2017, 5:00 pm

Adjournment

A motion was made by Erin Gonnerman, seconded by John Casavant, to adjourn at 6:35 pm.  Motion passed upon unanimous voice vote.

Submitted:

_________________

Scott Ahl
