CITY OF TWO RIVERS CITY COUNCIL

PUBLIC UTILITIES COMMITTEE

# Tuesday, August 8, 2017

5:00 P.M.

City Hall, 3rd Floor, Committee Room

MINUTES

Call to Order

Roll Call

Committee members present: John Casavant, Bonnie Shimulunas, Erin Gonnerman

Staff Present: James Mc Donald (City Engineer/ Public Works Director), Scott Ahl (Civil Engineer II), Ross Blaha (Water Utility Supt), Dave Casebeer (WWTP)

Review and Approval of Minutes – Motion by Erin Gonnerman, seconded by John Casavant, to accept and file minutes as presented.  Motion carried upon unanimous voice vote

Public Input: Robert & Ruth Hearly, 3128 Adams St; Charles Peterson, 3121 Monroe St

Charles Peterson  stated there is concern about a pond located directly north of his property, where  water can be 4-5’ deep; concerned about children’s safety; also, concern about mosquitos and overflow from the pond running across his yard

Ruth Hearley – 1994 petition for storm sewer; assessed for $600, was unable to connect to storm since not adjacent to property; also noted, at wet times of year, there is standing water in backyard

Staff would propose to extend storm sewer in backyard to north end of Adams Street. Staff will coordinate survey to ensure proper grade for drainage

Storm Water Utility:  Updates and Action

Discussion and action regarding Pond and Drainage issue on Monroe

EPA Grant – Constructed Wetland at Beach

Performed plant survey at north end of Neshotah beach; threatened and endangered species were found in area upland; DNR will not permit excavation on lake side of plants

Storm Water Outlet Issues with WDNR

Vet’s Park Storm Sewer

Staff looking at options for permeable asphalt pavement, or grade changes to improve site drainage and potential storm water quality improvements.

Waste Water Utility:  Superintendent Updates

Flows at 2.9MGD; performed some maintenance on tanks; DNR performed inspection last week; expect new permit – 6/30/2017 to 6/30/2019; phosphorous to remain same for this permit

Sump Pumps on Lincoln Avenue – Letter and billings

List on Lincoln Avenue ≈18 people need to connect sump pumps to storm laterals; also noted, resident on Garfield St, north of 29th, needs to be connected

Water Utility:   Updates from Director

- Looking at Ranney well; would need to obtain lakebed lease or grant

- DNR on site today to discuss intake cleaning work; staff and contractor satisfactorily answered questions from DNR; similar procedure permed in Waukegan water rates, Blaha noted

- Allouez, Bellevue, Ledgeview, Howard receive water from MPU; PSC data indicates similar water  rates

Electric / Telecommunications Utilities:  Updates from Director

Other Utilities:  Updates and Action

Landfill

WDNR Inspection Issues

Discussion and Action regarding land owner contacts

Solid Waste / Recycling

Various Project Updates:

Wilson / Pilon – need to coordinate with Coast Guard regarding relocating card reader

Mini Storm Sewer and Connections

Other – Bid opening August 16th for sewer lining project; project will utilize DNR funding with 30% principal forgiveness

Set Date, Time and Agenda Items for next Committee Meeting

Next meeting to be held Tuesday, September 19, 2017, 5:00 pm with tour of Electric Department to follow.

Adjournment

A motion was made by Erin Gonnerman, seconded by John Casavant, to adjourn at 6:38 pm.  Motion passed upon unanimous voice vote.

Submitted:

_________________

Scott Ahl