# CITY OF TWO RIVERS CITY COUNCIL

PUBLIC UTILITIES COMMITTEE

Wednesday, February 7, 2018

5:00 P.M.

City Hall, 3rd Floor, Committee Room

MINUTES

Call to Order

Roll Call

Committee members present: Erin Gonnerman, John Casavant, Bonnie Shimulunas

Staff Present: James Mc Donald (City Engineer/ Public Works Director), Scott Ahl (Civil Engineer II), Dave Casebeer (WWTP)

Greg Droessler, PE, Town & Country Engineering

Review and Approval of Minutes – Motion by Erin Gonnerman, seconded by John Casavant, to accept and file minutes as presented.  Motion carried upon unanimous voice vote.

Waste Water Utility: Superintendent Updates

Review Plans for Upgrade as completed to date with Consultant – Plans to upgrade current pump station to meet building code and add a grit removal system for improved plant efficiency, and to reduce excessive wear on plant pumps and equipment.  Future phases of project include improvements to sludge digestors, belt press, and removal of a hydraulic restriction

Discuss schedule for bidding – Plans to be bid in March, award contract in April, with construction to be June 2018 to June 2019; updated cost estimate should be available.

Discuss impact on Mishicot rates and Meeting with Mishicot Reps – need to review billing rates with Mishicot, based on debt service and operational costs; need to review operational cost. Greg Droessler will review

Sump Pumps on Lincoln Avenue and elsewhere - Letter and billings – property owners on Lincoln Avenue with sump pumps are required to connect to storm laterals

Storm Water Utility: Updates and Action

Update, Discussion and action regarding Pond and Drainage issue on Monroe

EPA Grant - Constructed Wetland at Beach - Permitting Status

Storm Water Outlet Issues with WDNR

Vet's Park Storm Sewer

Water Utility: Updates from Director

Lead Service Laterals – 60 LSL’s scheduled to be replaced on Adams St and 27th Street

26 LSL’s (previous service laterals replaced on 2017 contract)

50 LSL’s (remaining laterals to be replaced on 2017 contract)

30 LSL’s to be replaced via 2018 contract by September 30, 2018

Staff will be mailing notices for required lead service replacements around Mon., Feb. 12, 2017

Other Utilities: Updates and Action

Landfill:  Update, Discussion and Action regarding land owner contacts – staff will continue contacts with property owner

Work Plan update – other uses for compost or other storage

Set Date, Time and Agenda Items for next Committee Meeting

Next meeting to be held Tuesday, March 6, 2018, 5:00 pm.

Adjournment

A motion was made by John Casavant, seconded by Erin Gonnerman, to adjourn at 6:30 pm.  Motion passed upon unanimous voice vote.

Submitted:

_________________

Scott Ahl