CITY OF TWO RIVERS CITY COUNCIL

PUBLIC UTILITIES COMMITTEE

# Tuesday, March 6, 2018

5:00 P.M.

City Hall, 3rd Floor, Committee Room

MINUTES

Call to Order

Roll Call

Committee members present: Erin Gonnerman, John Casavant, Bonnie Shimulunas

Staff Present: James Mc Donald (City Engineer/ Public Works Director), Scott Ahl (Civil Engineer II), Dave Casebeer (WWTP), Ross Blaha (Water Dept.); Greg Buckley (City Manager)

Review and Approval of Minutes – Motion by John Casavant, seconded by Erin Gonnerman, to accept and file minutes as presented.  Motion carried upon unanimous voice vote.

Waste Water Utility:  Superintendent Updates – 1.62 MGD average; 0.4mg/l average Phosphorous

Discuss schedule for bidding – Plant upgrades being bid March/early April, to be awarded in May

Discuss impact on Mishicot rates and Meeting with Mishicot Reps.

Sump Pumps on Lincoln Avenue and elsewhere – Letter and billings.

Review of recent Bid Openings

27th Street – Staff is preparing special assessments for 27th St

Adams Street and 37th Street Loop – alternatives for Adams St include boring; A potential savings of ≈$12,000 could be realized if water main would be installed via open cut alternative, which would involve more pavement disruption, and longer construction schedule.

Scattered Private lead lateral replacements – Private service work was included on three projects recently bid.  Some prices higher than expected.  Noted projects have different bid prices, including prices for similar items on private services

Storm Water Utility:  Updates and Action

Update, Discussion and action regarding Pond and Drainage issue on Monroe – staff is coordination w/surveyor for information on drainage issue on Monroe St.

EPA Grant – Constructed Wetland at Beach – Permitting Status – staff met w/DNR regarding permits for storm at proposed improvement; DNR is working w/city to obtain approved permit

Storm Water Outlet Issues with WDNR

Vet’s Park Storm Sewer

Water Utility:

- Updates from Director – switching to LED lights in plant (1-3 year payback)

- looking at human machine interface to provide alternative manual control of system operations if an automated system does not work

- working on electronic time sheets

- WPPI providing assistance for boiler inspection (helps maintain efficiency

- 33 people (out of 57) with signed contracts for private service laterals; will send another reminder to call for an inspection appointment

- staff will be sending notices for information meetings for 27th St., Adams St., and private service laterals

B. Discuss Request for Water Service from Property Owner Located Outside the City Limits – city is considering a request for city water to property at Riverview and CTH VV; Staff noted the adjacent property owner approached city to provide city water in exchange for bike/ped trail easement east of CTH VV; considering terms/options on pre-annexation agreement to negotiate with property owner also, Klein due to adjacent landfill

Other Utilities:  Updates and Action

Landfill:  Update, Discussion and Action regarding land owner contacts

Work Plan update

Solid Waste / Recycling

Various Project Updates:

Mini Storm Sewer and Connections

Other

Set Date, Time and Agenda Items for next Committee Meeting

Next meeting to be held Tuesday, April 3, 2018, 5:00 pm.

Adjournment

A motion was made by John Casavant, seconded by Erin Gonnerman, to adjourn at 6:18 pm.  Motion passed upon unanimous voice vote.

Submitted:

_________________

Scott Ahl