CITY OF TWO RIVERS CITY COUNCIL

PUBLIC UTILITIES COMMITTEE

# Thursday, July 5, 2018, 5:00 P.M.

City Hall, 3rd Floor, Committee Room

MINUTES

Call to Order

Roll Call

Committee members present: Erin Gonnerman, John Casavant, Bonnie Shimulunas

Staff Present: James Mc Donald (City Engineer/ Public Works Director), Scott Ahl (Civil Engineer II), Dave Casebeer (WWTP)

Review and Approval of Minutes – Motion by Erin Gonnerman, seconded by John Casavant, to accept and file minutes as presented.  Motion carried upon unanimous voice vote.

Waste Water Utility:  Superintendent Updates – June flow avg. – 2.6MGD; Discharge water quality parameters within 30% of limit

Construction Update – expected to begin Monday, July 9th

Donation from Kewaunee Plant Shut Down – unused lab equipment donated to Two Rivers Wastewater Plant, including incubator, and several samplers

Sump Pumps on Lincoln Avenue and elsewhere – complaint received by Lincoln Avenue property owner that water is seeping in basement where water and sewer laterals were tied in basement; does not want to install sump pump.  Extra water potentially due to sewer services are not leaking.

Review Construction Schedule for:

27th Street

Adams Street – preconstruction mtg scheduled for July 18th; expected start date-late July; similar schedule for 27th Street

Plans Submitted for 2019 Water and Sewer Projects (in conjunction with Streets) as well as LSL (in ROW and Private) –  Reconstruction projects are: 14th Street, Hawthorne Ave to Lowell St; 25th Street, Forest Ave to West River.  Other funding requested for replacement of public lead services at various locations.  Private side would be paid for by property owners.

Storm Water Utility:  Updates and Action

Riverview Pond – Update – staff authorized appraisal of proposed pond site which will keep project eligible for DNR funding and other potential grants

Drainage issue on Monroe – staff will attempt to coordinate survey of area between Monroe St, Adams St,   31st St, School St to determine potential solutions to drainage issues in this area.

EPA Grant – Constructed Wetland at Beach – Permitting Status – staff continues to work on threatened grass DNR is requesting a permit condition to have a 95% confidence that grass levels will be within 15% of current levels

Industrial Park – Woodland Area / WG&R – staff is evaluating potential storm ponds on west side of Woodland Drive, north of STH 310

Water Utility:

Intake Cleaning Schedule – July 16th – August 3rd

Lead Sampling Results – lab still needs to analyze household lead sampling

Other Utilities:  Updates and Action

Solid Waste / Recycling – staff looked at existing site on CTH VV used for sand pit/fill material; potential uses could be concrete storage/crushing, various fill material, county compost site, temporary leaf storage

Various Project Updates:

Sandy Bay Highlands – staff is considering placing 2nd layer of asphalt pavement on 1st phase

Set Date, Time and Agenda Items for next Committee Meeting

Next meeting to be held Tuesday, August 7, 2018, 5:00 pm.

Adjournment

A motion was made by John Casavant, seconded by Erin Gonnerman, to adjourn at 6:07 pm.  Motion passed upon unanimous voice vote.

Submitted:

Scott Ahl