CITY OF TWO RIVERS CITY COUNCIL

PUBLIC UTILITIES COMMITTEE

# Tuesday, August 7, 2018

5:00 P.M.

City Hall, 3rd Floor, Committee Room

MINUTES

The original agenda stated that it took place on Thursday, August 7, 2018. The meeting was actually on Tuesday, August 7, 2018.

Call to Order

Roll Call

Committee members present: Erin Gonnerman, Bonnie Shimulunas

Staff Present: James Mc Donald (City Engineer/ Public Works Director), Scott Ahl (Civil Engineer II), Dave Casebeer (WWTP), Ross Blaha (Water Dept.)

Review and Approval of Minutes –Motion by Erin Gonnerman, seconded by Bonnie Shimulunas, to accept and file minutes as presented.  Motion carried upon unanimous voice vote.

Waste Water Utility:  Superintendent Updates

Construction Up Date – ¾ tank poured

Communication with Mishicot concerning rate adjustments – staff has set up meeting with Mishicot staff and their consultant on August 15th; potential annual capital impacts include $17,000 for replaced sanitary pipe on 14th St and $20,000 for current WWTP project

City Rate Adjustment Proposal – City rate adjustment approximately 5.6% to cover increase in costs

NOTE: staff noted a leak was detected in the digestor cover; staff is arranging to clean and repair

Review Construction Schedule for:

27th Street – expected start date August 20th

Adams Street – started this week; currently setting up temporary water service

Scattered LSL – contractor continues work on 2017 LSL contract

Storm Water Utility:  Updates and Action

Riverview Pond – Update – appraisal for pond site has been completed; should receive shortly; city scored well on UNPS funding which indicates potential grant funds

EPA Grant – Constructed Wetland at Beach – Permitting Status – plan on advertising next week for contractor with bid award early Sept.  Staff will be working with a consultant on some of the permit conditions such as removal/salvage of threatened grasses

Vet’s Park Storm Sewer – DPW staff will work on completing storm sewer near 19th & School

Culvert at Roosevelt and Memorial Drive Replacement – nee to discuss with DOT potential cost sharing of sewer replacement; city staff will replace curb

Water Utility:   Updates from Director

Intake Blow Out Schedule – could start pumping for cleaning operations later this week or early next week; had to perform maintenance work at intake crib

Lead Sampling Results – City passed recent lead sampling, but not by much; staff is considering having a study to investigate cause of lead issues in the water system

Set Date, Time and Agenda Items for next Committee Meeting

Next meeting to be held Wednesday, Sept 5, 2018, 5:00 pm at WWTP

Adjournment

A motion was made by Erin Gonnerman, seconded by Bonnie Shimulunas, to adjourn at 6:10 pm.  Motion passed upon unanimous voice vote.

Submitted:

_________________

Scott Ahl