CITY OF TWO RIVERS CITY COUNCIL

PUBLIC UTILITIES COMMITTEE

# Tuesday, August 6, 2019, 5:00 P.M.

City Hall:  Third Floor Committee Room

MINUTES

Call to Order

Roll Call Committee members present:  Bonnie Shimulunas, Bill LeClair, Erin Gonnerman

Staff Present: James Mc Donald (City Engineer/ Public Works Director), Scott Ahl (Civil Engineer II), Dave Casebeer (WWTP), Ross Blaha (Water Utility)

Review and Approval of Minutes – Motion by Erin Gonnerman, seconded by Bill LeClair, to accept the minutes with correction of adjournment of meeting was seconded by Erin Gonnerman, not David England.  Motion carried upon unanimous voice vote

2020 CWF and SDWF Street Utility Project Listing as submitted

Staff reported that ITA’s were submitted for:

-Madison St, 19th St – 22nd St

-25th St, West River – Forest Avenue

-24th St, Forest Avenue – Jefferson St

DOA informed city staff that projects may not be funded due to utility finances; staff also noted that CWF funding included construction of Riverview Pond and Eggers/20th St Pond which is under a separate storm utility; staff will look at prioritizing projects

Waste Water Utility:  plant flows are high (since April); staff also noted B.O.D. loading has been high mostly due to high grease/oils loading; last month averaged 5,000 lb./day, with a rated plant loading of 4,000 lb./day; staff will look at re-certifying plant for higher B.O.D. rating

Phase II – work to start 9/3/2019; work expected to last approximately 1 year

Pick Up Truck Update – order for truck was placed; ordered a 2020 model due to lack of 2019 availability

Staff is planning on submitting an ITA for shoreline erosion protection at WWTP; staff estimates lake shoreline has eroded approximately 10’ +/-; no objections

Electric Utility - Director Presentation, Discussion and Action as needed

Water Utility:  Director Presentation, Discussion and Action as needed

Purchase Backup Generator – WPPI is offering to sell a 600 kW diesel back-up generator for $10,000; generator has been maintained by WPI for last 15 years and has acted as back-up for water plant and surrounding businesses.

Motion made by Erin Gonnerman, seconded by Bill LeClair, to purchase generator from WPPI for $10,000. Motion unanimously approved.

Staff will provide an update on water chemistry report and impacts on lead control; this will be discussed at next meeting

Storm Water Utility:  Updates and Action

Neshotah Constructed Wetland – high lake water levels are blocking outfall; frequently city staff is responding to these blockages and clearing, as needed, which utilizes city resources; staff also checks and clears 17th St outfall

LB Clarke School Roof – the district is looking at connecting roof drains to storm system

Any Other Items or Issues – staff noted water, due to high lake levels, is on School St (N of 14th St) and 25th St (W of Wilson St); staff will add gravel to bring level above water

- John Dubrow is converting old golf course into an arboretum; owner approached city to potentially have city purchase credits for phosphorus removed/reduced from implementation of new practices; TMPL is upcoming which will regulate phosphorus.

Set Date, Time and Agenda Items for next Committee Meeting

Next meeting will be held Wednesday, September 4, 2019 at 5:00 P.M. at WWTP for a tour.

Adjournment

A motion was made by Bill LeClair, seconded by Erin Gonnerman, to adjourn at 6:17 pm.  Motion passed upon unanimous voice vote.

Submitted:

_____________