CITY OF TWO RIVERS CITY COUNCIL

PUBLIC UTILITIES COMMITTEE

# Tuesday, December 3, 2019

5:00 P.M.

City Hall:  Second Floor Conference Room No. 207

MINUTES

Call to Order

Roll Call - Committee members present:  Bonnie Shimulunas, Bill LeClair, Erin Gonnerman

Staff Present: James Mc Donald (City Engineer/ Public Works Director), Scott Ahl (Civil Engineer II), Dave Casebeer (WWTP), Ross Blaha (Water Utility)

Review and Approval of Minutes – Motion by Bill LeClair, seconded by Erin Gonnerman, to accept the minutes as presented. Motion carried upon unanimous voice vote

2020 CWF and SDWF Street Utility Project Listing – staff plans to bid in early 2020; discussions regarding assessments, including street width and surface impacts the assessment

2021 CWF and SDWF Street Utility Project Application Priority – Eggers/20th Street Pond

Waste Water Utility:  plant flows Sun, 12-7, 4.6 mgd; Mon, 12-8, 4.4 mgd; much above the plant rating of 3.1 MGD.

Plant, including Phase 2 – High flows are slowing plant work, although work is mostly on schedule. Expecting major work to start 12-9-19, with piping between aeration basins and digester cover

Pick Up Truck Update – expecting vehicle delivery end of January and another 5 weeks +/- for installation of equipment

Water Utility:  inspected clear wells and all are good; now on 5-year survey frequency

- sanitary survey at plant scheduled for 2020.  Information from DNR describing the tasks this survey consists of was distributed to the committee members.

- lead/copper sampling is required on annual basis (30 samples/year); sampled later in year

Storm Water Utility:

Riverview Pond – bidding early 2020

Shore Line Erosion – staff is preparing an emergency permit for erosion protection along the Lake Michigan shoreline by portions of DPW, WWTP, trail, and 22nd St @ Neshotah Rd.  Staff will evaluate the need for performing work as the lake levels continue to fluctuate.

- Lake Outlet Issues resulting from High Lake Levels - staff continues to clear storm outfalls of sand; water from lake fills outfalls in with sand as quick as sand is cleared.  Staff is experimenting with a secondary pipe, at a higher elevation, to provide drainage to reduce the potential of water backing up on streets during rain events.

Set Date, Time, Location and Agenda Items for next Committee Meeting

Next meeting will be held Tuesday, January 7, 2020 at 5:00 P.M.

Adjournment

Motion by Erin Gonnerman, and seconded by Bill LeClair, to adjourn at 5:40 pm.