CITY OF TWO RIVERS CITY COUNCIL

PUBLIC UTILITIES COMMITTEE
Tuesday, January 7, 2020
5:00 P.M.

City Hall:  Second Floor Conference Room No. 207
MINUTES
Call to Order

Roll Call - Committee members present:  Bonnie Shimulunas, Bill LeClair, Erin Gonnerman

Staff Present: James Mc Donald (City Engineer/ Public Works Director), Scott Ahl (Civil Engineer II), Dave Casebeer (WWTP), Ross Blaha (Water Utility)

Review and Approval of Minutes – Motion by Bill LeClair, seconded by Erin Gonnerman, to accept the minutes as presented. Motion carried upon unanimous voice vote
Public Present – Tracey Koach (resident)
2021 CWF and SDWF Street Utility Projects 

 CWF – sewer lining; investigate sewer lateral lining

 Street projects – Roosevelt Ave (may divide in 2 sections); 17th St, east of bridge


 Other projects – 20th/Eggers pond
 Special Assessment Hearing coming up around February or March for 2020 projects

Waste Water Utility:  radios are installed at plant; expect 4 lift stations (currently offline) to be connected   via new radio system this week
Phase 2 Work – expect plant work to start in January with project completion in July
CMAR Grade & Review – high flows have contributed to a grade of ‘F’ for inflow; sludge application was at a higher rate per acre due to wet field conditions; expect rating to be ‘C’ grade.  These grades will be reflected in the annual waste water CMAR report.  Staff pointed out that continued poor grades may lead to additional requirements when the next permit cycle is prepared.
Other – staff expects to send reminder notice via various media about concerns to keep sump pump water out of sanitary sewer

Mishicot – review Mishicot agreement; agreement based on flows at 7.72% of estimated flow.

Motion was made by Gonnerman, seconded by LeClair, to recommend the Mishicot agreement, be presented, to City Council for approval.  Motion passed upon unanimous voice vote.

Water Utility:  
Main replacements - will coincide with street repairs
Treatment Plant: 
- Tracer Study:  related to CT valve related to chlorine contact time to reflect actual chlorine time to coincide with time water is in the the treatment plant.

- plan to lease/purchase pick-up truck

- plan to convert non-remote reading meters to ERT remove readings, currently 75


 - continuing required cross connection control inspections
Storm Water Utility:  

Shore Line Erosion – staff is having shoreline protection installed along bike trail and wastewater treatment plant
Lake Outlet Issues – storm outfalls continue to plug with sand, due to high water levels; waves push sand into storm pipes and block storm flow.  Staff continues to clean outlets on a as-needed basis.  This was performed 73 times in 2019.
Other:  staff received word that state legislature is working with DNR to declassify material from bed of Lake Michigan as solid waste
Set Date, Time, Location and Agenda Items for next Committee Meeting

      Next meeting will be held Tuesday, February 4, 2020 at 5:00 P.M.

Adjournment 

       Motion by Erin Gonnerman, and seconded by Bill LeClair, to adjourn at 6:00 pm.
