CITY OF TWO RIVERS CITY COUNCIL

PUBLIC UTILITIES COMMITTEE
Tuesday, August 3, 2021 - 6:00 P.M. 
MINUTES
Call to Order

Roll Call - Committee members present:  Bonnie Shimulunas, Bill LeClair  
Absent: Jay Remiker
Staff Present: Jim Mc Donald (Public Works Director), Scott Ahl (Civil Engineer II), Brian Dellman (Electric Utility)

Review and Approval of Minutes - Motion by Bonnie Shimulunas, seconded by Bill LeClair, to accept the minutes as presented. Motion carried upon unanimous voice vote.

2021 CWF and SDWF Utility Project Status
- 24th Street:  utility work completed; concrete work expected to be completed this week with restoration to follow within the next two weeks.

- 25th St:  utility work completed; Scheduled to begin pouring concrete within the next week


- Madison: started utility work 7/26/2021 in 1900 block

- Eggers pond and Pine Tree lift station; schedule to be determined by contractor
Future Utility Projects

- 17th St, Roosevelt, Zlatnik (17th to Pierce)

- mini storm sewers; including 14th St (Buchholz to Bellevue); other areas near 13th & Columbus, and near Jackson Street, north of 22nd Street.

- look at backyard drainage swale North of 31st, west of Adams


- 23rd St, W of Lincoln Ave – utilities and roadway need consideration for improvement.

- replacement of lead laterals on asphalt streets (Emmet St)


- replace Lincoln St; sewer relined, may replace laterals, and resurface streets.

- reline WWTP outfall.  Existing line has had history of open joints.

   - replacement of WWTP sludge dewatering, currently scheduled for 2022/223; several vendors are scheduled to perform pilot testing on different equipment alternatives.
   - sewer backups during 7-15-21 rainstorm; several on 25th St (construction area); Also, several on east side due to blockage at river crossing siphon, caused backups on east side as far north as 28th & Wilson and south near Coast Guard; staff is investigating potential sources which include residential and industrial Fats/Oils/Grease.
Electric and Telecommunications Utilities:  residential electricity meters (order 1 pallet = 96 meters); was 6-8 week lead time, now ≈ 12 weeks; also looking into commercial meters

- still performing pole inspections, some deterioration of poles detected in back yards

- replaced underground service to Pick’n Save last week

  - had staff meeting with Customer Service and Finance Dept to discuss the need to update utility customer service policy


- Noted a change in late payments fees need approval by Public Service Commission

- disconnection rates to remain same until next rate increase
Water Utility:  DNR considering regulations on PFAS
Storm Water Utility:  as mentioned above, staff is looking at mini storm sewers to facilitate sump pump 
Set Date, Time, Location and Agenda Items for next Committee Meeting.  
     Next meeting will be held Tuesday, August 31, 2021, at 6:00 pm.
Adjournment -  Motion was made by Bonnie Shimulunas, seconded by Bill LeClair, to adjourn at 6:55pm


