CITY OF TWO RIVERS CITY COUNCIL

PUBLIC WORKS COMMITTEE

# Tuesday, January 3, 2017

9:00 A.M.

City Hall Third Floor Committee Room

MINUTES

Call to Order

Roll Call:  John Casavant, Mark Bittner, Bonnie Shimulunas

Staff Present: James Mc Donald, City Engineer/Public Works Director, Scott Ahl, Engineer, Greg Buckley, City Manager, Ross Blaha, Water Utility Supt

Review and Approval of Minutes

Motion by John Casavant, and seconded by Bonnie Shimulunas, to approve minutes as presented.  Motion carried upon unanimous voice vote.

Public Input

Special Assessment Policies and Discussion – as directed by City Council

Continued review and action regarding private side service lateral ordinance changes

-Reviewed policy statement regarding private water and sewer service lines

-Goal to reduce lead in drinking water which enters building, and reduce inflow & infiltration in sewer flows

-Developing ordinance to regulate water service and sewer laterals from mains to meter

-Provide for special assessments to spread payments for costs over time

-Backwater valves – staff displayed a back water valve.  Staff recommends requirement

where laterals are to be replaced

-A proposed project is to replace sanitary sewer on Wilson St (23rd-24th St); staff is considering replacement of sanitary service (main to building) and water service (property line to meter).  It was noted lead water services were replaced in this area in 2010.

-DNR funding also requires environmental and archaeological studies in areas where water services are to be replaced (Federal requirement)

Review and Update on Current and Pending Projects and Grants

Lincoln Avenue – need to coordinate lateral replacement with construction project to   reduce/minimize replacement of sidewalks in conjunction with construction project

Federal funding has been received for replacing lead or steel water services on Lincoln Ave/Pilon Ct

Funding may not be available for future projects; may consider funds from revolving loan fund based on household income levels

Concern about requiring replacement of services where meter is in rear of house to minimize disruption

Set Date, Time and Agenda Items for next Committee Meeting

Next meeting to be held Monday, February 6, 2017, 9:00 a.m.

Adjournment

Motion by Mark Bittner, and seconded by John Casavant, to adjourn at 1:15 pm.

Submitted:

_________________

Scott Ahl